## Slide 1: Indian grid and the way forward
Bengal Chamber 27_08_11

## Slide 2: Smart wars? From war of currents to IT wars
IT wars
Bill Gates – Steve Hobs
PC – Apple
Operating systems
Open systems
Dot net – Java
Browser war
SAP – Oracle
...
Thomas Edison
American inventor and businessman, known as "The Wizard of Menlo Park", pushed for the development of a DC power network.
Nikola Tesla
Inventor, physicist, and electro-mechanical engineer, was known as "The Wizard of the West" and was instrumental in developing AC networks

## Slide 3: Technology should be looked at in totality
Digital Technology
3
IT, Communication, Automation/Control must be planned and implemented in synergy to achieve optimal results
Communication
Information Technology
Communication
Automation and Control
Information Technology
+
+
Convergence
Automation and Control
Notes: Digital Technology - Convergence of IT, Communication and Automation & Control
3

## Slide 4: Current state of the Indian power sector
Total estimated cost of electricity sold is. Rs. 2,05,000 Crores in the year 2008-09
Gross subsidy on sale of electricity is in the range of Rs. 46000 Crore
The total commercial loss of the state power sector (excluding subsidy) is around Rs. 26,000 crore
The billing and collection efficiencies are in the range of 71% and 94% respectively (National average)
The Aggregate Technical and Commercial (AT&C) losses in various states are in the range of 18% - 62% with an average national-level figure estimated at around 33.07% primarily on account of power theft and inefficient billing and collection.
The rate of return of the state power sector is around (-) 18 %.
Source: Union Budget & Economic Survey 2007-08 (Ministry of Finance); Ministry of Power; CEA and other institutions of Govt. of India

## Slide 5: Various Smart Grid solution areas and benefits
Transmission & Distribution Enterprise
End Consumers
Grid Reliability
Asset Optimization
Energy Efficiency
Delivery Efficiency
Demand Response, Renewable Integration
Various Smart Grid
solution areas for
Utility Enterprises
and end consumers
SG Solution Area | Expected Benefits
Grid Reliability | Increased network performance and reliability (key for overall economy)
Asset optimization | Utility industry’s primary performance indicator is RoA. Better asset maintenance leads to deferred capex investments as well as overall reliability of power delivery.
Delivery Efficiency | Reduction of overall technical and commercial losses through measurement and controls. In India, an average of 33% AT&C losses - current focus of RAPDRP.
Demand Response | Deferred capex for new generation. Every kWH saved is equivalent to 1.5 kWH generated. Savings to end consumers (due to Time of Use tariff and other such incentive mechanisms)
Renewable integration | CO2 reduction Renewable Portfolio Standards (RPS) targets mandated for generators and large consumers
Energy Efficiency | Reduction of energy consumption and expenses for end consumers by as much as 30% through measurement and controls

## Slide 6: Synchrophasor System – An introduction
Phasor Measurement Units (PMU) as building blocks
Precisely time-synchronized, high resolution measurements
  measured with respect to a common reference, Universal Time Clock (GPS clock), hence, generating comparable Synchronous Phasors
  10 to 60 measurements per second
Configured as stand-alone PMUs or as embedded devices in relays, meters and other IEDs
Governed by the IEEE C37.118-2005 “ Standard for Synchrophasors for Power Systems”
Synchrophasors provide ‘MRI ‘of the grid as against currently available ‘X-Ray’
Functional block diagram of PMU
GPS receiver
Phase-locked
Oscillator
Transformers and transducers
Analog Filter (anti-aliasing)
DSP calculator
A/D converters
Power System
Communication System

## Slide 7: Data generated from Synchrophasor system can be used by various applications for grid management
Synchrophasor
Applications
Planning
Validating and improving State Estimations
Fine-tuning of existing planning and estimation models
Optimizing new infrastructure investments
Monitoring
Real-time wide-area system operating conditions
Angular separation for assessing stress on the grid
Long‐duration, low frequency, inter‐area oscillations
Voltage and frequency stability
Analyzing
Post-mortem analysis of outages like a black-box
Pre-events and post-event analysis
Analyzing and triggering system restoration activities
Controlling
Dynamic rating
Congestion management
Wide‐area adaptive protection and system integrity protection
Predictive Grid control
7

## Slide 8: Architecture View
Transmission System
Generators
Sub-Stations
Distribution System
Smart Meters/ Smart Homes
Distributed Energy Sources
Energy Storage
Power Infrastructure
Communication Infrastructure
EMS
DMS
SCADA
Planning &
Forecasting
Bidding &
Scheduling
Settlements
Trading &
Contracts
Resource
Dispatch
Asset Mgmt
Maintenance
Mgmt
Systems
Planning
OMS
GIS
MDMS
CIS
Call Center
Billing
Protocols, Standards and Security
Protocols, Standards and Security
Extranet Portal (Market, Suppliers, Partners etc)
Smart Customer Portal
Business Analytics Portal
Power Quality and Reliability
AMI
Customer Service
Power Procurement and Market Ops
Planning and Engineering
MWM
DSM/ Demand Response
Operation
Planning
Business Applications
Enterprise Integration
Real-Time Systems

## Slide 9: R-APDRP SCADA/DMS – Overall scope
Business Applications
Control Centre Apps
Electrical Infrastructure
Communication
Measuring Sensors
MEASURE ANALYZE
CONTROL FEEDBACK
RTUs , Input/output racks, Transducer & interposing relay panels
FRTUs located at First switching stations & RMUs
Media for reliable information exchange between Field and System level components (Fiber Optic / GPRS)
SCADA / DMS software, Front End processors, HMI
Integration of SCADA with
existing R-APDRP business apps
Overall scope of work

## Slide 10: R-APDRP SCADA/DMS – Overall scope
SCADA for
Distribution network
Centralized Data acquisition and control
DMS applications
Network power flow
Switching procedure arrangement
Fault isolation and service restoration
Volt/VAR control
Communications & Network
LANs and WANs – Network Equipments
Network Management System
Integration with other business processes
With IT Systems, GIS,AMR , Legacy systems etc.
Historian
Alarm and event handling
Energy balance
Intelligent load shedding

## Slide 11: Beyond SCADA - Integrated data flow in the future

## Slide 12: Architecture Reference Model
Substation Field Device
Substation Field Device n
61850
Substation Automation System
Protection, Control, Metering
Switchgear, Transformers, Instrumental Transformer
61850
61850
61850
Distributed Energy Resources
WIND Generating Unit
61850
Nuclear Power Plant
Hydro Power Plant
Thermal Power Plant
WIND Farms
Concentrator
Residential Meters
DLMS-COSEM
61850
61850
61850
61850
61850
61850
61850
61970 / 61968
    ESB
SCADA
CIM
Inter Control Center Link
TASE
Distribution, Transmission Remote control system
EMS Apps
Metering Apps
ERP application
DMS Apps
OMS Apps
CIM
CIM
CIM
Market Mgmt System
ESB
Generating Mgmt System Apps
ESB
61850
SCADA
CIM
CIM
CIM
CIM
Generating management System
Market management System
AMM application
ERP application
ESB
AMM System
61850
CIM
CIM

## Slide 13: Micro Grids – bringing it all together…
Notes: 13

## Slide 14: New MicroGrid Controller
Source
Transformer
Load Tap
Changer &
Regulators
MicroGrid Control
Advanced DMS
Consumer Loads
& beyond-the-meter
energy technologies
Circuit Parameters
Smart Line Devices
+
-
~
Electricity Storage
& Distributed Energy Resources
Notes: 14

## Slide 15: MicroGrid Core Functionality
Safety and Reliability priority
Automated Field Devices
Model and Manage MicroGrid resources
  Economically, Reliably, and Securely (including charge/discharge storage)
Normal & Islanded Operations
Real-Time integration with
  OMS/DMS
  SCADA
  Demand Response/Load Mgt
  Field Devices
OMS/DMS
SCADA
Microgrid Master Controller
Microgrid Master Controller
Microgrid Master Controller
Microgrid Master Controller
Field
SCADA
Devices
Distributed
Energy
Resources
Customer
Demand Response
Distributed
Energy
Resources
Distributed
Energy
Resources
Distributed
Energy
Resources
Field
SCADA
Devices
Field
SCADA
Devices
Field
SCADA
Devices
Historian

## Slide 16: Industrial automation footprint spreads across engineering and business layers.
Middleware Adapters [Level 3-Level 4]
Workflow modeling
Package Implementation
Interface Adapters
[Level 3-Level 2]
Advanced Process Control
Soft-sensors
Real-time Optimization
Monitoring & diagnostics
Scheduling
Control Systems
Device Configuration
Embedded Systems Development
Level 4
Level 3
Level 2
Level 1
Discrete/Process Device Comm Networks
Automation Networks
Operation Information Network
Enterprise-wide/plant-wide network
PLC, DCS
Ethernet, Modbus, DeviceNet, TCP/IP
HMI, SCADA, RTU
[Acquisition, Monitoring, Trending]
Supervisory/Advanced Control & Optimization (Real-time)
[Model-based, Fuzzy, Expert Systems, Neural Network, Statistical process control]
TCP/IP, Ethernet
Wireless (PDA)
TCP/IP, Ethernet
Field Devices
[I/O, Controller, Sensors]
Device Managers
[Diagnostics/Configuration]
Manufacturing Operations Management [MES/LIMS]
Dispatching, Detailed Production, Scheduling, Recipe Management, Production Tracking
Ethernet IP, HART, Profibus, FF protocols
Business Logistics [ERP/SCM/CRM/MRP]
Plant Production Scheduling, Shipping, Receiving, Inventory, etc
ENGINEERING GROUP
BUSINESS GROUP

## Slide 17: OPTIPLANT

## Slide 18: Plant Management System : Layered Architecture
Data Access Layer
Business Layer
OPC UA based Enterprise Service Bus
CIM Model
SQL 2008
Portal UI
Existing Business(IS) application
SSRS
SSAS
SSIS
OPC UA
SAP Connector
SAP
Data Access
Services
Unit #1 control system
Entity
Framework
Smart Calculation Engine
Access Control Manager
Report Generation
Plant Simulator
Asset Manager
Configurator
Alarms and Events viewer
Configuration
Logging
Security
Energy Optimizer
KPI Viewer
Reports builder and viewer
Mimics Viewer
Condition Monitoring
Plant Scheduler
Unit #n control system
Energy trading
Framework
UI Framework
OPC UA Client Framework

## Slide 19: Gradual but with end-vision in sight: Smart Grid adoption in Indian power distribution context
Step 1
Step 2
Step 3
R-APDRP and beyond
Smart Grid
Part of R-APDRP
A system for :
Curtailing AT&C losses
Driving transparency
Driving accountability
A system for:
Operational efficiency
Customer service excellence
Automated control
A system that is:
Self-healing
Adaptive
Interactive
Secure from attacks
Accommodates all generation and storage options
Supports bi-directional energy flow
Distributed across geographies and organizational boundaries
1 to 3 years
3 to 5 years
5 to 15 years

## Slide 20: No one-size fit-all solution ...Customization is the key to Smart Grid
Very advanced
Very advanced IT
Initial
Minimal IT
Advanced
Advanced IT
Bare Minimum
Minimal IT
Reliance and Tata in Mumbai
North eastern states, Bihar, Chattisgarh, Andaman and Nicobar etc.
Discoms in Maharashtra, Karnataka, Rajasthan, Andhra Pradesh etc.
BSES and NDPL in Delhi
Bare Balance Discoms
IT adoption level
Metros
City
Town
Rural
Geography
Industrial
Commercial
Residential
Consumers
Agricultural
Others

## Slide 21: THANK YOU
www.infosys.com
The contents of this document are proprietary and confidential to Infosys Limited and may not be disclosed in whole or in part at any time, to any third party without the prior written consent of Infosys Limited.
© 2011 Infosys Limited. All rights reserved. Copyright in the whole and any part of this document belongs to Infosys Limited. This work may not be used, sold, transferred, adapted, abridged, copied or reproduced in whole or in part, in any manner or form, or in any media, without the prior written consent of Infosys Limited.
Notes: To reproduce this slide simply create a new slide, right click and select layout and apply the Notes&Disclaimer layout.